## Sheet1
Electric Motor Installation
Equipment Number/Tag Number |  |  |  | Manufacture
Date of Installation |  |  |  | Location
1. Name Plate Detail Verification
Identification of equipment/ circuits
Zone category (Zone 0, 1, 2, or safe)
Ex-protection type/gas group/ temperature class
IP Rating/ Enclosure Protection
2. Examine the following components and Report any discrepancies
S.No | Detailed Information | Progress |  |  | Reference | Remarks
|  | OK | NOT OK | NOT AVAILABLE
1 | Verify the nameplate and compare it to the datasheet
2 | Levelling is correct
3 | No Un-authorised Alterations
4 | Endo sure and glasses are satisfactory
5 | Remove the shaft blocker and spin the shaft
6 | Satisfactory seals and gaskets
7 | Satisfactory cable termination (using lug & heat shrink tube, formation within terminal box, bolting torque)
8 | Bolts & gland earthing/shroud are complete & tight
9 | No oil and compound leakage
10 | No damage to the cable's aboveground section
11 | Covers/guards are in place and free of motor fans/couplings
12 | Earthings are intact and in excellent condition
13
14
15
Installation Report
Accepted
Rejected
Overall Performance Report
Checked By |  | Designation
Approved By |  | Designation
Installed Company Seal

## Sheet2
dfhhh | hjjjj | fhjh | ghzzz