## Sheet1
Check List for Transformer Maintenance
Date:
Sub Station Number: |  | Maintenance Date:
Transformer Number: |  | Voltage Ratio:
S.No | Maintenance Tasks | Checks were performed | Remarks
1 | Obtain the LC from the substation operation
2 | Examine for oil leaks
3 | Check that the conservator tank oil level is at least 3/4 full
4 | Evaluate the Breather condition
5 | Examine Silica Gel's condition
6 | Clean the transformer body
7 | When open the terminal box, look for the following:
a) The tightness of the terminal connection
b) The condition of the bushings
c) Any indications of overheating
8 | Examine for any unplugged holes or missing bolts.
9 | Check the tightness of all terminal boxes.
10 | Check and Verify the oil/winding temperature setting
11 | Check that the earthing system is in proper functioning
12 | Check for cable compatibility
13 | Examine the IR value
a). Primary : P-E
b). Secondary : P-E
14 | Any other unexpected occurrences
Maintenance Officer Signature
(With Designation and Date)