## Sheet1
Maintenance of Induction Motor
Serial Number
Make
HP/KW | /
AMP
RPM
Pole
Frame
Grease Quantity
Visual Inspection
Motor Condition | OK | NOT OK
Pulley | OK | NOT OK
Belt | OK | NOT OK
Machine to be Driven | OK | NOT OK
Basic Maintenance
Motor Housing Condition | No Over Heat | Over Heat
Protection Switch Performance
Reset Switch Control | OK | NOT OK
Fuse Condition | OK | NOT OK
Current Limiting Starter Condition | OK | NOT OK
Oil Level in Induction Motor | 50%
75%
100%
>100%
Moisture Protection | WET | DRY
Bearing Maintenance
Rolling Bearing | GREASED | NOT GREASED
Front Bearing Condition | OK | NOT OK
Rear Bearing Condition | OK | NOT OK
Bearing Brushes | OK | NOT OK
Bearing Tightness | TIGHT | LOOSE
Motor Internal Maintenance
Shaft in Motor | OK | NOT OK
Commutator | 100% | 50%
Armature Coil | GOOD | DAMAGE
Insulation | OK | NOT OK
Overall Maintenance Report
Maintenance Carried Out By
Technician Signature
Name
Maintenance Date
Maintenance Engineer Signature With Seal