## DC Voltage Drop Calculator
DC Voltage Drop Calculator
Description |  | Result | Unit
Voltage Drop | V1 | 22.5 | V
Wire Resistivity | R | 3 | Ω-m
Length of the Wire (One Way) | L | 15 | m
Current | I | 10 | A
Cross Sectional Area of Wire | A | 20 | mm2
Number of Conductors (parallel) | n | 2
Equation for DV (or) 1- Phase AC | V1 = 2 x I x L x R / A / n
DC- Voltage Drop % Calculator
Description |  | Result | Unit
Voltage Drop Percentage | % | 0.086957 | %
Initial Voltage | V | 230 | V
Voltage Drop | V1 | 20 | V
Equation | % = V1/V
Output Voltage Calculator
Description |  | Result | Unit
Output Voltage | V2 | 210 | V
Initial Voltage | V | 230 | V
Voltage Drop | V1 | 20 | V
Equation | V2 = (V-V1)
Regulation:
The voltage drop occurs when an electric current passes through passive elements in a circuit. Under ideal conditions, electrical current flows uninterrupted over the wire till it reaches the equipment. In reality, however, the current is impeded by some type of opposing pressure, which means that some of the voltage is lost whenever the current must overcome this resistance, and this loss is known as voltage drop. The voltage drop calculator analyzes the amount of voltage lost when electric current flows through a wire, as well as the voltage output at cable's end. It can be used to compute wire size and determine which wire diameter will keep your voltage drop within acceptable limits. The voltage drop happens when current must pass along a wire, and both the current and the wire influence the voltage drop. Wire Material: The use of better conductors results in a smaller voltage drop.Although carbon steel has a larger voltage drop, copper is a far better conductor. Wire Size: The cross-sectional area of wire has a significant impact on its voltage drop. The voltage drop increases as the wire thickness decreases. Wire Length: A longer wire means a greater distance for the current to flow through, resulting in higher voltage losses. Always work to reduce the length of a wire. Load Current: As the current increases, the voltage drops. The voltage loss should never be more than 3% of the original voltage. A higher drop may cause lights to flicker and electronics to overheat.